|  | Equipment and Premises Audit Resource Code CSE3-CE |
| --- | --- |

|  |  /  |  | Comment / Actions |
| --- | --- | --- | --- |
| # A. Car Park / Entry |  |  |  |
| - Clean/clear of rubbish |  |  |  |
| - Disabled access available |  |  |  |
| - Pathways clear of obstacles and non-slip |  |  |  |
| # B. Aisles / Corridors |  |  |  |
| - Surfaces clean/clear of defects |  |  |  |
| - Clear of rubbish |  |  |  |
| - Clear of electrical leads |  |  |  |
| - Clear vision at intersection |  |  |  |
| # C. Floors |  |  |  |
| - Even surfaces – no holes |  |  |  |
| - Clear of rubbish |  |  |  |
| # D. Steps / Stairs |  |  |  |
| - Highlighted |  |  |  |
| - Handrails |  |  |  |
| - Ramps for disabled access |  |  |  |
| - No steps are too high |  |  |  |
| # E. Windows |  |  |  |
| - Clean and clear |  |  |  |
| - No broken windows |  |  |  |
| - Windows free of rubbish and obstruction |  |  |  |
| - Windows open freely |  |  |  |
| # F. General Lighting |  |  |  |
| - Adequate illumination |  |  |  |
| - Good natural light |  |  |  |
| - No direct or reflected glare |  |  |  |
| # G. Fire / Emergency |  |  |  |
| - Extinguishers in place, serviced, clearly marked for type of fire |  |  |  |
| - Fire hoses / blankets in place with correct signage |  |  |  |
| - Exit signs clearly visible |  |  |  |
| - Exit doors easily opened from inside |  |  |  |
| - Exits clear of obstructions |  |  |  |
| - Fire alarm systems in place |  |  |  |
| - Emergency evacuation procedures displayed appropriately |  |  |  |
| - Deadlocks on emergency doors able to be overridden in case of emergency |  |  |  |
| - Telephone available in case of emergency |  |  |  |
| - Emergency services numbers displayed clearly |  |  |  |
| # H. Electrical |  |  |  |
| - Equipment not in use stored correctly |  |  |  |
| - No broken plugs, sockets or switches |  |  |  |
| - No frayed or defective leads |  |  |  |
| - No temporary leads left on floors |  |  |  |
| - Unserviceable equipment tagged with fault listed |  |  |  |
| - Electrical installations are installed, constructed, maintained, protected and tested to minimise the risk of electrical shock or fire |  |  |  |
| - Handheld portable equipment is protected by RCD (Residual Current Device) |  |  |  |
| - Flexible extension cords are used in a safe manner, Connections are moulded or transparent plugs |  |  |  |
| # I. First Aid |  |  |  |
| - Cabinets and contents clean and orderly |  |  |  |
| - No unauthorised items available e.g. paracetamol, matches |  |  |  |
| - Emergency numbers displayed |  |  |  |
| # J. Rubbish |  |  |  |
| - Adequate amount of bins |  |  |  |
| - Bins located in suitable points |  |  |  |
| - Bins emptied regularly |  |  |  |
| # K. Hazardous Substances |  |  |  |
| - Hazardous substances are properly labelled and stored correctly |  |  |  |
| - People who are exposed to hazardous substances have been provided with adequate information on safe use |  |  |  |
| # L. Toilets |  |  |  |
| - Adequate number of toilets available |  |  |  |
| - Disabled access to toilets |  |  |  |
| - Toilets clean and clear of rubbish |  |  |  |
| - Cubicle door locks can be overridden in case of emergency |  |  |  |
| - Poisons locked away |  |  |  |
| - Floors clean / non-slip |  |  |  |
| - Drains inaccessible to children |  |  |  |
| # M. Kitchen / Food Preparation |  |  |  |
| - Poisons locked away |  |  |  |
| - Plastic bags locked away |  |  |  |
| - Appliances inaccessible to children |  |  |  |
| - Cutlery inaccessible to children |  |  |  |
| - Glass items inaccessible to children |  |  |  |
| - Hot water inaccessible to children |  |  |  |
| - No dangling cords |  |  |  |
| - Floors dry / non-slip |  |  |  |
| - Safety plugs used in power points |  |  |  |
| - All matters of hygiene considered |  |  |  |

| # N. Outside / Building External |  |  |
| --- | --- | --- |
| - Fences in good condition |  |  |
| - Gates and locks working |  |  |
| - Equipment locked away |  |  |
| - Dangerous plants removed or made safe |  |  |
| - Play equipment appropriate and safe to use |  |  |
| - Perimeter fire breaks clear and serviceable |  |  |
| - Exterior of building clean and free of damage |  |  |
| # O. Other Areas of concern identified but not listed |  |  |

Name: ___________________________________________________________________

Signature: __________________________________________________ Date: __________

Reproduced from a checklist in ‘Called to Care: Duty of Care for Congregations’, Uniting Church in Australia Synods of South Australia and Western Australia (2004). Used with permission.