|  | Building & Equipment Checklist Resource Code CSE4-CB |
| --- | --- |

This checklist is designed to assist in the task of ensuring that the premises and equipment meet Occupational Health and Safety guidelines.

### Airconditioning

- Air conditioning systems should be regularly cleaned and maintained to help prevent Legionella.

- The water in evaporative air conditioning systems must be treated with appropriate chemicals.

### Asbestos

- All asbestos should be identified and noted in a permanent register, with warning signs affixed to any asbestos areas.  There may be obligations under OHS legislation to establish an asbestos register with an ongoing inspection program.

- Unstable asbestos will need to be removed professionally.

### Catering

- People responsible for catering should be familiar with local laws and regulations.

### Changes to Structures

- Be aware that a new risk may arise any time a structure is changed.

- If something has changed, assess the situation and deal with any potential for problems early.

### Cleaning Schedule

- There should be an established routine for cleaning.

### Electrical

- Regular attention needs to be given by a qualified electrical worker.

- Safety switches (Residual Current Devices) should be installed and should be tested every three months.

- All permanent electrical equipment should be tested and tagged to ensure it meets safety standards.

- Frayed or worn cables should be removed.

- All heaters should be out of reach of children, preferably mounted on walls.

- Use safety plugs in unused power points.

- Sensitive equipment (video and computer) should be protected by surge resistant arresters.

- Where leads are used, tape / fasten to secure and eliminate risk of tripping.

### Equipment

- Team Members should know how to operate equipment correctly and safety guidelines must be adhered to.

### Fences

- A safe fenced area with (younger) child resistant gates should be provided if possible.

- Gaps in a fence or gate should not permit a child’s head to become stuck. Openings of 7.5–23cm can cause entrapment.

### Fire Security

- Jurisdiction building requirements likely require luminous exit signs over all (emergency) exits.

- Well maintained fire equipment is necessary, including training for key personnel in the appropriate use of the equipment.

- Provide a fire blanket in the kitchen.

- Fire extinguishers, fire blankets and hose reels should be checked twice a year to comply with Australian Standard AS 1851 .

- Correctly installed and maintained smoke detectors are essential, if possible with a monitoring service for when the building is unoccupied.

- Smoke detectors should be tested regularly, especially if battery operated.

- Inflammable liquids must be kept in a proper storage cabinet.

- Instructions for evacuating the building and assembly points should be clearly printed and displayed in the building.

- All exit points and doorways should be kept clear of obstacles.

### First Aid Kit

- A well maintained first aid kit should be readily available in case of an emergency.

- Make sure Team Members know where it is stored.

### Floors

- Keep timber floors well maintained.

- Provide non-slip surfaces in wet areas.

- Provide signage to indicate wet surfaces.

- Replace carpets and mats that have curled edges.

### Glass

- Large panels of glass must be clearly identified.

- Glass at child level must be of the correct standard of thickness.

### Hot Water

- Urns and instant hot water systems must be kept out of reach of young children

- Urns should not be placed where the cord may be tripped over or the tap accidentally knocked.

- Temperature controlling devices should be fitted to hot water systems.

- Provide a safe space for children away from adults with hot drinks.

### Kitchens

- Keep plastic bags locked away.

- Sharp knives and other utensils should be kept out of reach of children.

- Store all glass safely.

### Lighting

- Ensure all areas of the property are well lit, including car parks.

- Steps and stairs should be well lit.

- Replace faulty lights promptly.

### Manual Lifting

- Ensure that equipment is available for safe handling of heavy loads and correct lifting positions are used for manual lifting.

### Paint

- Lead paints should not be used.

- Excess / waste paint should be disposed of carefully - see local council waste advice

### Play Equipment

- Play equipment should be in view for easy supervision.

- It should be regularly checked and maintained and should comply with relevant safety standards.

- Provide adequate cushioning material under equipment.

- Check sand pits regularly for dangerous or sharp objects.

- Keep animals away from sand pits.

### Poisons

- Ensure all poisons (including cleaning agents) are stored out of reach of children.

- Make a list of all hazardous substances kept on the property.

- Provide good ventilation when chemicals are in use.

- Make sure the Poisons Information phone number is displayed in an obvious place.

### Security

- The organisation should be aware of who is using the property and when and what security is necessary to ensure their safety.

- Team Leaders should have access to a phone in the event of a breach of security.

- Any Offender Management Policies should be properly supervised.

### Speed Restrictions

- Clear signage should be posted to limit the speed of vehicles using the property.

### Stairs and Steps

- Ensure that stairs and steps are safe.

- Edges can be painted for visual contrast.

- Provide appropriate handrails.

### Vegetation

- Ensure all poisonous plants are eliminated from the property. Common poisonous garden plants include oleanders and agapanthus.

- Check trees for overhanging limbs and for protruding tree roots in walkways.

- Evaluate potential tree-fall risk when establishing ‘campsites’.

- Clear weeds around buildings to minimise the risk of spiders and snakes.

### Ventilation

- Provide good ventilation in congregating areas as much as possible.